## Analysis
ANKLE FOOT ORTHOSIS - SIMULATION MODEL
Input
FSP0 | FSP1 | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 |  | THETA | 20 | Dorsiflexion angle |  | (-20:10:20)
0 | 52 | -40 | -40 | 0 | 50 | -35 | 105 |  | DELTA X | 0 | Misalignment in X |  | (-20:5:20)
-50 | 0 | 200 | 240 | 220 | 220 | -59 | -59 |  | DELTA Y | -20 | Misalignment in Y |  | (-20:5:20)
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | Rotation Matrix for SP & TP |  |  |  |  | Translation Matrix |  |  |  |  | Inverse of Translation Matrix
|  |  |  | R | 0.93969 | -0.34202 | 0 |  | T | 1 | 0 | 0 |  | INV(T) | 1 | 0 | 0
[5 empty] | 0.34202 | 0.93969 | 0 |  |  | 0 | 1 | -20 |  |  | 0 | 1 | 20
[5 empty] | 0 | 0 | 1 |  |  | 0 | 0 | 1 |  |  | 0 | 0 | 1
Rotation Matrix for FP & FSP
|  |  |  | R | 0.93969 | -0.34202 | 0 |  |  | Transformation to OCS
[5 empty] | 0.34202 | 0.93969 | 0 |  |  | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | FSP0 | FSP1
[5 empty] | 0 | 0 | 1 |  | Ti_OCS | -40 | -40 | 0 | 50 | -35 | 105 | 0 | 52
[10 empty] | 220 | 260 | 240 | 240 | -39 | -39 | -30 | 20
[10 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Rotation to OCS
[10 empty] | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | FSP0 | FSP1
[6 empty] | FSP0 | FSP1 |  | RTi_OCS | -112.8321 | -126.5129 | -82.0848 | -35.1002 | -19.5505 | 112.0065 | 10.2606 | 42.0236
[6 empty] | 17.101 | 48.864 |  |  | 193.0516 | 230.6393 | 225.5262 | 242.6272 | -48.6187 | -0.7359 | -28.1908 | 36.5789
[6 empty] | -46.9846 | 17.785 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[6 empty] | 1 | 1
|  | Rotation about ACS | [7 empty] | Backtrans to ACS
|  | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 |  |  | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | FSP0 | FSP1
x | R_ACS | -105.9917 | -119.6725 | -75.2444 | -28.2598 | -12.7101 | 118.8469 |  | TRTi_OCS | -112.8321 | -126.5129 | -82.0848 | -35.1002 | -19.5505 | 112.0065 | 10.2606 | 42.0236
y |  | 174.2577 | 211.8454 | 206.7324 | 223.8334 | -67.4126 | -19.5297 |  |  | 173.0516 | 210.6393 | 205.5262 | 222.6272 | -68.6187 | -20.7359 | -48.1908 | 16.5789
z |  | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Distance between Strap Points
[12 empty] | Plotting |  | X | Y | Point
| SP0_OCS & SP1_ACS |  | SP0_OCS & SP1_OCS |  | Pistoning | [8 empty] | -82.0848 | 205.5262 | SP0_OCS
[5 empty] | Separation Type |  | Separation Distance | [6 empty] | -28.2598 | 223.8334 | SP1_ACS
| Distance | Slope | Distance | Slope | Vertical | Horizontal | PD | AP | [5 empty] | -35.1002 | 222.6272 | SP1_OCS
| 56.8532 | 0.34012 | 50 | 0.36397 | Proximal | Posterior | 1.2061 | -6.8404
| Delta X | Delta Y | Misalignment Type |  | Theta | Limb Motion |  | Direction of Calf band travel w.r.t direction of Ankle motion
| 0 | -20 | Distal |  | 20 | Plantarflexion |  | Posterior Proximal
Calculations |  | MSP | -28.2598 | 223.8334 | Moving Strap Point (SP1_ACS)
|  | A | -17.101
|  | B | 46.9846 |  | PD | 1.2061 | Longitudinal Separation
|  | C | -11060.3074 |  | AP | 6.8404 | Anterior-Posterior Separation
|  | Len_SP1s | 6.9459
[11 empty] | Plotting |  | X | Y | Point
[13 empty] | -105.9917 | 174.2577 | TP1_ACS
| Relative Motion between TP Lines | [11 empty] | -119.6725 | 211.8454 | TP2_ACS
[13 empty] | -112.8321 | 173.0516 | TP1_OCS
| TP1_ACS & TP2_ACS |  |  | TP1_OCS & TP2_OCS |  |  | TP Lines relative motion | [5 empty] | -126.5129 | 210.6393 | TP2_OCS
Separation Distance & Type
| Distance | Slope | Intercept | Distance | Slope | Intercept | PD | AP | Gap
| 40 | -2.7475 | -116.9522 | 40 | -2.7475 | -136.9522 | -1.2061 | -6.8404 | Clearance
| Delta X | Delta Y | Misalignment Type |  | Theta | Limb Motion |  | Pressure Point
| 0 | -20 | Distal |  | 20 | Plantarflexion |  | Anterior
Calculations |  | TP | -126.5129 | 210.6393 | Touch Point 2 (TP2_OCS)
|  | A | -37.5877
|  | B | -13.6808 |  | PD | 1.2061 | Longitudinal Separation
|  | C | -1600 |  | AP | 6.8404 | Anterior-Posterior Separation
|  | Len_TP2s | 6.9459
[11 empty] | Plotting |  | X | Y | Point
[13 empty] | -12.7101 | -67.4126 | FP1_ACS
| Relative Motion between FP Lines | [11 empty] | 118.8469 | -19.5297 | FP2_ACS
[13 empty] | -19.5505 | -68.6187 | FP1_OCS
| FP1 & FP2 - (R_ACS) |  |  | FP1 & FP2 - (TRTi_ACS) |  |  | FP Lines relative motion | [5 empty] | 112.0065 | -20.7359 | FP2_OCS
Separation Distance & Type
| Distance | Slope | Intercept | Distance | Slope | Intercept | PD | AP | Gap
| 140 | 0.36397 | -62.7865 | 140 | 0.36397 | -61.5029 | 1.2061 | -6.8404 | Clearance
| Perpendicular Line | Intercept | -102.3332 | Perpendicular Line | Intercept | -122.3332
|  | X | -37.2462 |  | X | -44.5256
| Delta X | Delta Y | Misalignment Type |  | Theta | Limb Motion |  | Pressure Point
| 0 | -20 | Distal |  | 20 | Dorsiflexion |  | Distal-Bottom
Calculations |  | FP | 112.0065 | -20.7359 | Foot Point 2 (FP2_OCS)
|  | A | -47.8828
|  | B | 131.557 |  | AP | 6.8404 | Longitudinal Separation
|  | C | 8260 |  | PD | 1.2061 | Anterior-Posterior Separation
|  | Len_FP1s | 6.9459
Distance between Foot Strap Points
[12 empty] | Plotting |  | X | Y | Point
| FSP0_OCS & FSP1_ACS |  | FSP0_OCS & FSP1_OCS |  | Pistoning | [8 empty] | 10.2606 | -48.1908 | FSP0_OCS
[5 empty] | Separation Type |  | Separation Distance | [6 empty] | 48.864 | 17.785 | FSP1_ACS
| Distance | Slope | Distance | Slope | Vertical | Horizontal | PD | AP | [5 empty] | 42.0236 | 16.5789 | FSP1_OCS
| 76.4397 | 1.7091 | 72.1388 | 2.0392 | Proximal | Posterior | 5.6106 | -4.0948
| Delta X | Delta Y | Misalignment Type |  | Theta | Limb Motion |  | Foot Strap Movement
| 0 | -20 | Distal |  | 20 | Plantarflexion |  | Posterior Proximal
Calculations |  | MSP | 48.864 | 17.785 | Moving Strap Point (SP1_ACS)
|  | A | -64.7697
|  | B | 31.763 |  | PD | 5.6106 | Longitudinal Separation
|  | C | 2195.2602 |  | AP | 4.0948 | Anterior-Posterior Separation
|  | Len_SP1s | 6.9459

## Model-1
| THETA | 20 | Dorsiflexion angle
| DELTA X | 0 | Misalignment in X
| DELTA Y | -20 | Misalignment in Y
FSP0 | FSP1 | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | ACS | Foot End | Foot Tip | Knee | OCS | OSP | OSP1 | OSP2
39.57 | 86.33 | -31.2 | -31.2 | 0 | 41.2 | 129.5 | -30.1 | 0 | -61.32 | 186.44 | 0 | 0 | 0 | -41.2 | -41.2
-31.8 | 2.27 | 183.9 | 267.7 | 233.5 | 233.5 | -63.57 | -63.57 | 0 | -63.57 | -63.57 | 400.98 | -20 | 300.74 | 300.74 | 0
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Rotation Matrix for SP & TP |  |  |  |  | Translation Matrix |  |  |  |  | Inverse of Translation Matrix
| R | 0.93969 | -0.34202 | 0 |  | T | 1 | 0 | 0 |  | INV(T) | 1 | 0 | 0
|  | 0.34202 | 0.93969 | 0 |  |  | 0 | 1 | -20 |  |  | 0 | 1 | 20
|  | 0 | 0 | 1 |  |  | 0 | 0 | 1 |  |  | 0 | 0 | 1
Rotation Matrix for FP & FSP
| R | 0.93969 | -0.34202 | 0
|  | 0.34202 | 0.93969 | 0 | [5 empty] | Transformation to OCS
|  | 0 | 0 | 1 | [5 empty] | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | FSP0 | FSP1
[9 empty] | Ti_OCS | -31.2 | -31.2 | 0 | 41.2 | 129.5 | -30.1 | 39.57 | 86.33
[10 empty] | 203.9 | 287.7 | 253.5 | 253.5 | -43.57 | -43.57 | -11.8 | 22.27
[10 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Rotation to OCS
| Orthosis Shell Points | [8 empty] | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | FSP0 | FSP1
| OSP | OSP1 | OSP2 |  | FSP0 | FSP1 |  |  | RTi_OCS | -99.0563 | -127.7176 | -86.7021 | -47.9868 | 136.592 | -13.3829 | 41.2195 | 73.5069
| -102.8591 | -141.5745 | -38.7153 |  | 48.0599 | 80.3473 |  |  |  | 180.9323 | 259.6785 | 238.2121 | 252.3033 | 3.3492 | -51.2372 | 2.4454 | 50.4536
| 282.6032 | 268.5119 | -14.0912 |  | -16.3485 | 31.6597 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 | 1 | 1 |  | 1 | 1
| Rotation about ACS | [8 empty] | Backtrans to ACS
| TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | Knee |  |  | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | FSP0 | FSP1
R_ACS | -92.2159 | -120.8772 | -79.8617 | -41.1464 | 143.4324 | -6.5425 | -137.1432 |  | TRTi_OCS | -99.0563 | -127.7176 | -86.7021 | -47.9868 | 136.592 | -13.3829 | 41.2195 | 73.5069
| 162.1384 | 240.8847 | 219.4182 | 233.5095 | -15.4447 | -70.0311 | 376.7979 |  |  | 160.9323 | 239.6785 | 218.2121 | 232.3033 | -16.6508 | -71.2372 | -17.5546 | 30.4536
| 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## Model-2
| THETA | -20 | Dorsiflexion angle
| DELTA X | 20 | Misalignment in X
| DELTA Y | -20 | Misalignment in Y
FSP0 | FSP1 | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | ACS | Foot End | Foot Tip | Knee | OCS | OSP | OSP1 | OSP2
39.57 | 86.33 | -31.2 | -31.2 | 0 | 41.2 | 129.5 | -30.1 | 0 | -61.32 | 186.44 | 0 | 20 | 0 | -41.2 | -41.2
-31.8 | 2.27 | 183.9 | 267.7 | 233.5 | 233.5 | -63.57 | -63.57 | 0 | -63.57 | -63.57 | 400.98 | -20 | 300.74 | 300.74 | 0
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Rotation Matrix for SP & TP |  |  |  |  | Translation Matrix |  |  |  |  | Inverse of Translation Matrix
| R | 0.93969 | 0.34202 | 0 |  | T | 1 | 0 | 20 |  | INV(T) | 1 | 0 | -20
|  | -0.34202 | 0.93969 | 0 |  |  | 0 | 1 | -20 |  |  | 0 | 1 | 20
|  | 0 | 0 | 1 |  |  | 0 | 0 | 1 |  |  | 0 | 0 | 1
Rotation Matrix for FP & FSP
| R | 0.93969 | 0.34202 | 0
|  | -0.34202 | 0.93969 | 0 | [5 empty] | Transformation to OCS
|  | 0 | 0 | 1 | [5 empty] | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | FSP0 | FSP1
[9 empty] | Ti_OCS | -51.2 | -51.2 | -20 | 21.2 | 109.5 | -50.1 | 19.57 | 66.33
[10 empty] | 203.9 | 287.7 | 253.5 | 253.5 | -43.57 | -43.57 | -11.8 | 22.27
[10 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Rotation to OCS
[10 empty] | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | FSP0 | FSP1
[5 empty] | FSP0 | FSP1 |  |  | RTi_OCS | 21.6256 | 50.2869 | 67.9083 | 106.6236 | 87.9945 | -61.9804 | 14.3539 | 69.9466
[5 empty] | 26.3074 | 81.9 |  |  |  | 209.1148 | 287.861 | 245.0525 | 230.9613 | -78.3936 | -23.8072 | -17.7817 | -1.7592
[5 empty] | -43.416 | -27.3935 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | 1 | 1
| Rotation about ACS | [8 empty] | Backtrans to ACS
| TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | Foot End | Foot Tip |  | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | FSP0 | FSP1
R_ACS | 33.5791 | 62.2404 | 79.8617 | 118.577 | 99.948 | -50.027 | -79.3642 | 153.4541 | TRTi_OCS | 41.6256 | 70.2869 | 87.9083 | 126.6236 | 107.9945 | -41.9804 | 34.3539 | 89.9466
| 183.4805 | 262.2267 | 219.4182 | 205.327 | -104.0279 | -49.4415 | -38.7636 | -123.5025 |  | 189.1148 | 267.861 | 225.0525 | 210.9613 | -98.3936 | -43.8072 | -37.7817 | -21.7592
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## Model
L_THETA_F | -8.787 | Foot Angle | [6 empty] | R_THETA_F | -21.116 | Foot Angle
L_THETA_S | -13.444 | Shank Angle | [6 empty] | R_THETA_S | -33.054 | Shank Angle
DELTA X | 20 | Misalignment in X | [6 empty] | DELTA X | 20 | Misalignment in X
DELTA Y | -20 | Misalignment in Y | [6 empty] | DELTA Y | -20 | Misalignment in Y
FSP0 | FSP1 | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 |  | FSP0 | FSP1 | TP1 | TP2 | SP0 | SP1 | FP1 | FP2
0 | 52 | -40 | -40 | 0 | 50 | -35 | 110 |  | 0 | 52 | -40 | -40 | 0 | 50 | -35 | 110
-50 | 0 | 180 | 270 | 220 | 220 | -74 | -74 |  | -50 | 0 | 180 | 270 | 220 | 220 | -80 | -80
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
ACS | FHEE | FMT5 | Knee | OCS | OSP1 | OSP2 | OSP3 | OSP4 | ACS | FHEE | FMT5 | Knee | OCS | OSP1 | OSP2 | OSP3 | OSP4
0 | -62 | 124 | 0 | 20 | 0 | 0 | -60 | -60 | 0 | -54 | 133 | 0 | 20 | 0 | 0 | -60 | -60
0 | -74 | -74 | 482 | -20 | 40 | 310 | 310 | 40 | 0 | -80 | -80 | 460 | -20 | 35 | 300 | 300 | 35
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Rotation Matrix Left |  |  |  |  | Translation Matrix Left |  |  |  |  | Inverse of Translation Matrix Left |  |  |  |  | Rotation Matrix Left
| R | 0.9726 | 0.23249 | 0 |  | T | 1 | 0 | 20 |  | INV(T) | 1 | 0 | -20 |  | R | 0.98826 | 0.15276 | 0
|  | -0.23249 | 0.9726 | 0 |  |  | 0 | 1 | -20 |  |  | 0 | 1 | 20 |  |  | -0.15276 | 0.98826 | 0
|  | 0 | 0 | 1 |  |  | 0 | 0 | 1 |  |  | 0 | 0 | 1 |  |  | 0 | 0 | 1
| Rotation Matrix Right |  |  |  |  | Translation Matrix Right |  |  |  |  | Inverse of Translation Matrix Right |  |  |  |  | Rotation Matrix Right
| R | 0.83816 | 0.54543 | 0 |  | T | 1 | 0 | 20 |  | INV(T) | 1 | 0 | -20 |  | R | 0.93285 | 0.36026 | 0
|  | -0.54543 | 0.83816 | 0 |  |  | 0 | 1 | -20 |  |  | 0 | 1 | 20 |  |  | -0.36026 | 0.93285 | 0
|  | 0 | 0 | 1 |  |  | 0 | 0 | 1 |  |  | 0 | 0 | 1 |  |  | 0 | 0 | 1
| Rotation about ACS | [8 empty] | Rotation about ACS
| TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | Knee |  |  | TP1 | TP2 | SP0 | SP1 | FP1 | FP2 | Knee
R_ACS | 2.9452 | 23.8697 | 51.1489 | 99.7788 | -45.8936 | 97.4046 | 112.0625 |  | R_ACS | 64.651 | 113.7396 | 119.9944 | 161.9023 | -61.4704 | 73.7932 | 250.8974
| 184.3674 | 271.9012 | 213.9715 | 202.3467 | -67.7848 | -89.9352 | 468.7921 |  |  | 172.6854 | 248.1195 | 184.3945 | 157.1231 | -62.0192 | -114.2565 | 385.5522
| 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Rotation about ACS | [8 empty] | Rotation about ACS
| OSP1 | OSP2 | OSP3 | OSP4 | FHEE | FMT5 |  |  |  | OSP1 | OSP2 | OSP3 | OSP4 | FHEE | FMT5
R_ACS | 9.2998 | 72.0734 | 13.7176 | -49.0561 | -72.5767 | 111.2403 |  |  | R_ACS | 19.09 | 163.6288 | 113.3394 | -31.1994 | -79.1946 | 95.2489
| 38.9039 | 301.5053 | 315.455 | 52.8536 | -63.6602 | -92.0739 |  |  |  | 29.3355 | 251.4471 | 284.1728 | 62.0612 | -55.1743 | -122.5425
| 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
| Transformation to OCS | [8 empty] | Transformation to OCS
| TP1 | TP2 | SP0 | SP1 | FP1 | FP2 |  |  |  | TP1 | TP2 | SP0 | SP1 | FP1 | FP2
Ti_OCS | -60 | -60 | -20 | 30 | -55 | 90 |  |  | Ti_OCS | -60 | -60 | -20 | 30 | -55 | 90
| 200 | 290 | 240 | 240 | -54 | -54 |  |  |  | 200 | 290 | 240 | 240 | -60 | -60
| 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
| Rotation to OCS | [8 empty] | Rotation to OCS
| TP1 | TP2 | SP0 | SP1 | FP1 | FP2 |  |  |  | TP1 | TP2 | SP0 | SP1 | FP1 | FP2
RTi_OCS | -11.8569 | 9.0677 | 36.3468 | 84.9767 | -62.6036 | 80.6945 |  |  | RTi_OCS | 58.7964 | 107.8851 | 114.1399 | 156.0477 | -72.9224 | 62.3413
| 208.4692 | 296.003 | 238.0733 | 226.4486 | -44.9643 | -67.1148 |  |  |  | 200.3571 | 275.7913 | 212.0662 | 184.7948 | -36.157 | -88.3943
| 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
| Backtrans to ACS | [8 empty] | Backtrans to ACS
| TP1 | TP2 | SP0 | SP1 | FP1 | FP2 |  |  |  | TP1 | TP2 | SP0 | SP1 | FP1 | FP2
TRTi_OCS | 8.1431 | 29.0677 | 56.3468 | 104.9767 | -42.6036 | 100.6945 |  |  | TRTi_OCS | 78.7964 | 127.8851 | 134.1399 | 176.0477 | -52.9224 | 82.3413
| 188.4692 | 276.003 | 218.0733 | 206.4486 | -64.9643 | -87.1148 |  |  |  | 180.3571 | 255.7913 | 192.0662 | 164.7948 | -56.157 | -108.3943
| 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1

## 1
Anthropometric Data - StS
| LEFT LEG |  |  | RIGHT LEG |  |  |  | AFO Details
Point | X (mm) | Y (mm) | Z (mm) | X (mm) | Y (mm) | Z (mm) | Point Description | Vertical Height | 14" (360mm)
ACS | 0 | 0 | 1 | 0 | 0 | 1 | Origin (LM) | Foot Length | 12" (300mm)
FHEE | -66 | -55 | 1 | -74 | -50 | 1 | Foot End (Heel)
FMT5 | 125 | -59 | 1 | 113 | -64 | 1 | Foot MT5
KNEE | 0 | 429 | 1 | 0 | 424 | 1 | Knee Joint
SP0 | 0 | 220 | 1 | 0 | 220 | 1 | Fixed Strap Point
SP1 | 50 | 220 | 1 | 50 | 220 | 1 | Moving Strap Point
TP1 | -40 | 200 | 1 | -40 | 200 | 1 | Touch Point-1
TP2 | -40 | 240 | 1 | -40 | 240 | 1 | Touch Point-2
FSP0 | 0 | -50 | 1 | 0 | -50 | 1 | Fixed Foot Strap Point
FSP1 | 52 | 0 | 1 | 52 | 0 | 1 | Moving Foot Strap Point
FP1 | -35 | -59 | 1 | -35 | -64 | 1 | Foot Point-1
FP2 | 105 | -59 | 1 | 105 | -64 | 1 | Foot Point-2

## 2
Anthropometric Data - TransWalk
| LEFT LEG |  |  | RIGHT LEG |  |  |  | AFO Details
Point | X (mm) | Y (mm) | Z (mm) | X (mm) | Y (mm) | Z (mm) | Point Description | Vertical Height | 14" (360mm)
ACS | 0 | 0 | 1 | 0 | 0 | 1 | Origin (LM) | Foot Length | 12" (300mm)
FHEE | -85 | -43 | 1 | -81 | -41 | 1 | Foot End (Heel)
FMT5 | 116 | -62 | 1 | 118 | -66 | 1 | Foot MT5
KNEE | 0 | 470 | 1 | 0 | 485 | 1 | Knee Joint
SP0 | 0 | 220 | 1 | 0 | 220 | 1 | Fixed Strap Point
SP1 | 50 | 220 | 1 | 50 | 220 | 1 | Moving Strap Point
TP1 | -40 | 200 | 1 | -40 | 200 | 1 | Touch Point-1
TP2 | -40 | 240 | 1 | -40 | 240 | 1 | Touch Point-2
FSP0 | 0 | -50 | 1 | 0 | -50 | 1 | Fixed Foot Strap Point
FSP1 | 52 | 0 | 1 | 52 | 0 | 1 | Moving Foot Strap Point
FP1 | -35 | -62 | 1 | -35 | -66 | 1 | Foot Point-1
FP2 | 105 | -62 | 1 | 105 | -66 | 1 | Foot Point-2

## 3
Anthropometric Data - RampWalk
| LEFT LEG |  |  | RIGHT LEG |  |  |  | AFO Details
Point | X (mm) | Y (mm) | Z (mm) | X (mm) | Y (mm) | Z (mm) | Point Description | Vertical Height | 14" (360mm)
ACS | 0 | 0 | 1 | 0 | 0 | 1 | Origin (LM) | Foot Length | 12" (300mm)
FHEE | -70 | -51 | 1 | -75 | -48 | 1 | Foot End (Heel)
FMT5 | 114 | -70 | 1 | 102 | -76 | 1 | Foot MT5
KNEE | 0 | 462 | 1 | 0 | 449 | 1 | Knee Joint
SP0 | 0 | 220 | 1 | 0 | 220 | 1 | Fixed Strap Point
SP1 | 50 | 220 | 1 | 50 | 220 | 1 | Moving Strap Point
TP1 | -40 | 200 | 1 | -40 | 200 | 1 | Touch Point-1
TP2 | -40 | 240 | 1 | -40 | 240 | 1 | Touch Point-2
FSP0 | 0 | -50 | 1 | 0 | -50 | 1 | Fixed Foot Strap Point
FSP1 | 52 | 0 | 1 | 52 | 0 | 1 | Moving Foot Strap Point
FP1 | -35 | -70 | 1 | -35 | -76 | 1 | Foot Point-1
FP2 | 98 | -70 | 1 | 98 | -76 | 1 | Foot Point-2

## 4
Anthropometric Data - Walking
| LEFT LEG |  |  | RIGHT LEG |  |  |  | AFO Details
Point | X (mm) | Y (mm) | Z (mm) | X (mm) | Y (mm) | Z (mm) | Point Description | Vertical Height | 14" (360mm)
ACS | 0 | 0 | 1 | 0 | 0 | 1 | Origin (LM) | Foot Length | 12" (300mm)
FHEE | -62 | -44 | 1 | -54 | -50 | 1 | Foot End (Heel)
FMT5 | 124 | -74 | 1 | 133 | -80 | 1 | Foot MT5
KNEE | 0 | 482 | 1 | 0 | 460 | 1 | Knee Joint
SP0 | 0 | 220 | 1 | 0 | 220 | 1 | Fixed Strap Point
SP1 | 50 | 220 | 1 | 50 | 220 | 1 | Moving Strap Point
TP1 | -40 | 200 | 1 | -40 | 200 | 1 | Touch Point-1
TP2 | -40 | 240 | 1 | -40 | 240 | 1 | Touch Point-2
FSP0 | 0 | -50 | 1 | 0 | -50 | 1 | Fixed Foot Strap Point
FSP1 | 52 | 0 | 1 | 52 | 0 | 1 | Moving Foot Strap Point
FP1 | -35 | -74 | 1 | -35 | -80 | 1 | Foot Point-1
FP2 | 110 | -74 | 1 | 110 | -80 | 1 | Foot Point-2

## 5
Anthropometric Data - Stepping
| LEFT LEG |  |  | RIGHT LEG |  |  |  | AFO Details
Point | X (mm) | Y (mm) | Z (mm) | X (mm) | Y (mm) | Z (mm) | Point Description | Vertical Height | 14" (360mm)
ACS | 0 | 0 | 1 | 0 | 0 | 1 | Origin (LM) | Foot Length | 12" (300mm)
FHEE | -73 | -31 | 1 | -75 | -25 | 1 | Foot End (Heel)
FMT5 | 127 | -70 | 1 | 129 | -65 | 1 | Foot MT5
KNEE | 0 | 441 | 1 | 0 | 424 | 1 | Knee Joint
SP0 | 0 | 220 | 1 | 0 | 220 | 1 | Fixed Strap Point
SP1 | 50 | 220 | 1 | 50 | 220 | 1 | Moving Strap Point
TP1 | -40 | 200 | 1 | -40 | 200 | 1 | Touch Point-1
TP2 | -40 | 240 | 1 | -40 | 240 | 1 | Touch Point-2
FSP0 | 0 | -50 | 1 | 0 | -50 | 1 | Fixed Foot Strap Point
FSP1 | 52 | 0 | 1 | 52 | 0 | 1 | Moving Foot Strap Point
FP1 | -35 | -70 | 1 | -35 | -65 | 1 | Foot Point-1
FP2 | 110 | -70 | 1 | 110 | -65 | 1 | Foot Point-2